## 62-PG-151002
TechnipEnergies ¦ General ¦ Anyone - No Protection#
GENERAL | 1 | Tag No. |  |  | 62-PG-151002
| 2 | Service |  |  | PW TRANSFER PUMP SUCTION PRESS
| 3 | P&ID No. | Location | MUK-62-1-15-1004-001-24C7 |  |  |  |  | FIELD
| 4 | Haz Area Class | Ignition Temp Ident No | - |  |  |  |  | -
| 5 | Ambient Temperature: |  | Min. | -40.00 | Max | 60.00 | -
| 6 | Equipment No. | Equipment System | - |  |  |  |  | -
CERTIFICATION | 7 | NACE Requirement | IBR Requirement | - |  |  |  |  | -
| 8 | Certification | Special Requirement | PED, ATEX, EAC, DNV, CRN |  |  |  |  | -
PIPE LINE | 9 | Line No. |  |  | 2-62-DB-151025
| 10 | Line Size / Schedule |  |  | -
| 11 | Pipe Class ¦ Material ¦ Insulation |  |  | -
PROCESS CONDITIONS | 12 | Case |  |  | -
| 13 | Fluid: Name ¦ State ¦ Phase |  |  | -
| 14 | Corrosive ¦ Erosive ¦ Toxic ¦ Build-up Tendency |  |  | - | - | - | -
| 15 | Solidifying ¦ Pulsation ¦ Coagulation ¦ Contain. Particles |  |  | - | - | - | -
| 16 | DESIGN CONDITIONS | Units | Min | Nor | Max
| 17 | Design Pressure: Min ¦ Max | kg/cm2G | - | - | -
| 18 | Design Temperature: Min ¦ Max | deg C | - | - | -
| 19 | OPERATING CONDITIONS | Units | Min | Nor | Max
| 20 | Op. Pressure: Min ¦ Nor ¦ Max | kg/cm2G | - | - | -
| 21 | Op. Temperature: Min ¦ Nor ¦ Max | deg C | - | - | -
| 22 | Viscosity (UOM/Value) ¦ Density (UOM/Value) |  |  | - |  | - |  | -
| 23 |  | Units | Min | Units | Max
RANGE | 24 | Instrument Range | bar | 0.0000 | bar | 1600.0000
| 25 | Calibration Range | bar | 0.0000 | bar | 1600.0000
| 26 | Display (Scale) Range | bar | 0.0000 | bar | 1600.0000
GAUGE BODY | 27 | Case Type |  | Safety Version S3 |  | GAUGE CONSTRUCTION (CONT.) | 57 | Bolting Material | -
| 28 | Case Style |  | Bayonet Ring |  |  | 58 | Gasket / O-Ring Material | -
| 29 | Mounting Type |  | Surface Mount / Panel Mount / Triangular Ring |  |  | 59 | Seal Type | -
| 30 | Process Conn. Size |  | G1/8, G1/4, G1/2, 1/4NPT, 1/2NPT |  |  | 60 | Accessory | -
| 31 | Process Conn. Type |  | EN837-1 / ISO7 / ANSI B1.20.1 |  |  | 61 | Accessory Code | -
| 32 | Process Conn. Location |  | Lower Mount / Centre Back Mount |  |  | 62 | Accessory Material | -
| 33 | Case Press Relief Type |  | Blow-out Device |  |  | 63 | Fill Fluid Material | Glycerine, Silicone Oil
| 34 | Window Material |  | Laminated Safety Glass |  |  | 64 | Liquid Fill Material | Glycerine, Silicone Oil, Glycerine-Water Mixture
| 35 | Ring Material |  | Stainless Steel |  |  | 65 | Window Material | Laminated Safety Glass
| 36 | Case Material |  | Stainless Steel 304 / 316Ti |  |  | 66 | Ring Material | Stainless Steel
| 37 | Stem Material |  | 316L Stainless Steel |  |  | 67 | Lower Housing Material | Stainless Steel
| 38 | Enclosure IP Rating |  | IP65 / IP66 |  |  | 68 | Stem Material | 316L Stainless Steel
SENSING ELEMENT | 39 | Elastic Element Type |  | Bourdon Tube |  |  | 69 | IP Rating | IP65 / IP66
| 40 | Movement Style |  | Mechanical Movement |  |  | 70 | Case Press Relief | Blow-out Device
| 41 | Nom Accuracy Grade |  | Class 1.0 / Class 1.6 |  |  | 71 | Instr Range Min | 0.0000 bar
| 42 | Element Material |  | 316L Stainless Steel |  |  | 72 | Instr Range Max | 1600.0000 bar
DIAL / DISPLAY | 43 | Movement Material |  | Stainless Steel |  | ADDITIONAL SPECS | 73 | Ambient Temp Min | -40.00 °C
| 44 | Dial Scale Type |  | Pressure / Vacuum / Compound |  |  | 74 | Ambient Temp Max | 60.00 °C
| 45 | Pointer Adjustment |  | Micrometer Adjustable Pointer |  |  | 75 | Connection Size | G1/8, G1/4, G1/2, 1/4NPT, 1/2NPT
| 46 | Graduation & Color |  | Black |  |  | 76 | Connection Type | EN837-1 / ISO7 / ANSI B1.20.1
| 47 | Scale Range Type |  | Pressure / Vacuum / Compound |  |  | 77 | Connection Location | Lower Mount / Centre Back Mount
| 48 | Dial Material |  | Aluminium |  |  | 78 | Case Press Relief | Blow-out Device
| 49 | Dial Size |  | 63 / 100 / 160 mm |  |  | 79 | IP Rating | IP65 / IP66
| 50 | Lower Housing Material |  | Stainless Steel |  | PERFORMANCE | 80 | Pressure Accuracy | Class 1.0 / Class 1.6
| 51 | Liquid Fill Material |  | Glycerine, Silicone Oil, Glycerine-Water Mixture |  |  | 81 | - | -
| 52 | Fill Fluid Material |  | Glycerine, Silicone Oil |  |  | 82 | - | -
PURCHASE | 53 | Manufacturer |  | Wika
| 54 | Model No. |  | 233.70
| 55 | MR. No. |  | -
| 56 | PO Number |  | -
Note:
1. Required Certification: PED, ATEX, EAC, DNV, CRN.
2. Gauge shall meet the requirements of EN837-1.
3. All process-wetted parts shall be minimum 316L Stainless Steel.
4. Liquid fill material: Glycerine or Silicone Oil as per process fluid compatibility.
5. Gauge shall be provided with stainless steel case and laminated safety glass window.
6. Installation and connection details to be confirmed with vendor during detail engineering.
MOC No. |  |  |  |  | JOB ID |  | Program No. | . DEC/PV
INSTRUMENT SPECIFICATION Pressure Gauge | [6 empty] | (Company Logo)
Code: 03007 |  |  |  |  | Sheet |  | of | Rev.:
No. | By | Chk | Appr | Date |  | Revision |  | DS. No.: